## transition_results
MoleculeGroup | PrecursorName | PrecursorFormula | PrecursorAdduct | PrecursorMz | PrecursorCharge | ProductName | ProductFormula | ProductAdduct | ProductMz | ProductCharge | PrecursorRT | PrecursorRTWindow | mzErrorPPM | RT | Area | AreaNormalized | Background | FWHM | PeakRT | RTStart | RTEnd | PrecursorOverlap | UncorrectedArea
AMPP_FA | AMPP_16:1_n-4_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_aldehyde neutral loss | C24H33H'0N2O2P0I0 | [M+] | 381.2537 | 1 | 7.36 | 0.05 | -1.7 | 7.39 | 1877.0709 | 0.0208% | 205 | 0.04 | 7.36 | 7.33 | 7.43 | ok | 1427
AMPP_FA | AMPP_16:1_n-4_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_criegee neutral loss | C24H33H'0N2O3P0I0 | [M+] | 397.2486 | 1 | 7.36 | 0.05 | -5.7 | 7.39 | 1017.9598 | 0.0112% | 86 | 0.04 | 7.36 | 7.33 | 7.43 | ok | 772
AMPP_FA | AMPP_16:1_n-4_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.36 | 0.05 | 2 | 7.37 | 1774078.721 | 18.8475% | 444375 | 0.04 | 7.36 | 7.33 | 7.43 | Overlapping precursor | 1293854
AMPP_FA | AMPP_16:1_n-5_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_aldehyde neutral loss | C23H31H'0N2O2P0I0 | [M+] | 367.238 | 1 | 7.36 | 0.05 | -1.6 | 7.36 | 9635.3727 | 0.1079% | 208 | 0.03 | 7.36 | 7.31 | 7.42 | ok | 7406
AMPP_FA | AMPP_16:1_n-5_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_criegee neutral loss | C23H31H'0N2O3P0I0 | [M+] | 383.2329 | 1 | 7.36 | 0.05 | 1.9 | 7.37 | 4422.5141 | 0.0494% | 347 | 0.03 | 7.36 | 7.31 | 7.42 | ok | 3391
AMPP_FA | AMPP_16:1_n-5_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.36 | 0.05 | 2 | 7.37 | 2308498.6588 | 24.5251% | 26760 | 0.04 | 7.36 | 7.31 | 7.42 | Overlapping precursor | 1683612
AMPP_FA | AMPP_16:1_n-6_7.37 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_aldehyde neutral loss | C22H29H'0N2O2P0I0 | [M+] | 353.2224 | 1 | 7.35 | 0.05 | -36.4 | 7.36 | 1241.7674 | 0.0141% | 188 | 0.02 | 7.35 | 7.33 | 7.39 | ok | 965
AMPP_FA | AMPP_16:1_n-6_7.37 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_criegee neutral loss | C22H29H'0N2O3P0I0 | [M+] | 369.2173 | 1 | 7.35 | 0.05 | 15.5 | 7.36 | 661.7393 | 0.0075% | 130 | 0.03 | 7.35 | 7.33 | 7.39 | ok | 513
AMPP_FA | AMPP_16:1_n-6_7.37 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.35 | 0.05 | 2 | 7.37 | 1675658.3455 | 17.8019% | 263333 | 0.04 | 7.35 | 7.33 | 7.39 | Overlapping precursor | 1222075
AMPP_FA | AMPP_16:1_n-7_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_aldehyde neutral loss | C21H27H'0N2O2P0I0 | [M+] | 339.2067 | 1 | 7.36 | 0.05 | 3.6 | 7.36 | 347763.2856 | 3.9803% | 4059 | 0.03 | 7.36 | 7.31 | 7.43 | ok | 273239
AMPP_FA | AMPP_16:1_n-7_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_criegee neutral loss | C21H27H'0N2O3P0I0 | [M+] | 355.2016 | 1 | 7.36 | 0.05 | 3.6 | 7.36 | 186744.0481 | 2.1321% | 2887 | 0.03 | 7.36 | 7.31 | 7.43 | ok | 146369
AMPP_FA | AMPP_16:1_n-7_7.38 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.36 | 0.05 | 2 | 7.37 | 2358349.8631 | 25.0547% | 28605 | 0.04 | 7.36 | 7.31 | 7.43 | Overlapping precursor | 1719969
AMPP_FA | AMPP_16:1_n-9_7.44 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-9_aldehyde neutral loss | C19H23H'0N2O2P0I0 | [M+] | 311.1754 | 1 | 7.42 | 0.05 | 4.3 | 7.44 | 29366.4581 | 0.3436% | 3304 | 0.03 | 7.42 | 7.39 | 7.49 | ok | 23586
AMPP_FA | AMPP_16:1_n-9_7.44 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-9_criegee neutral loss | C19H23H'0N2O3P0I0 | [M+] | 327.1703 | 1 | 7.42 | 0.05 | 4.3 | 7.44 | 20811.0356 | 0.2429% | 1284 | 0.04 | 7.42 | 7.39 | 7.49 | ok | 16674
AMPP_FA | AMPP_16:1_n-9_7.44 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-9_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.42 | 0.05 | 1.3 | 7.39 | 446924.952 | 4.748% | 59110 | 0.01 | 7.42 | 7.39 | 7.49 | Overlapping precursor | 325947
AMPP_FA | AMPP_16:1_n-10_7.53 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-10_aldehyde neutral loss | C18H21H'0N2O2P0I0 | [M+] | 297.1598 | 1 | 7.51 | 0.05 | 3.8 | 7.52 | 7830.9457 | 0.0926% | 1753 | 0.01 | 7.51 | 7.49 | 7.55 | ok | 6359
AMPP_FA | AMPP_16:1_n-10_7.53 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-10_criegee neutral loss | C18H21H'0N2O3P0I0 | [M+] | 313.1547 | 1 | 7.51 | 0.05 | 0.8 | 7.52 | 2736.8293 | 0.0323% | 566 | 0.01 | 7.51 | 7.49 | 7.55 | ok | 2217
AMPP_FA | AMPP_16:1_n-10_7.53 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-10_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.51 | 0.05 | 0.3 | 7.52 | 52483.8283 | 0.5576% | 20089 | 0.01 | 7.51 | 7.49 | 7.55 | Overlapping precursor | 38277
AMPP_FA | AMPP_16:1_n-4_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_aldehyde neutral loss | C24H33H'0N2O2P0I0 | [M+] | 381.2537 | 1 | 7.56 | 0.05 | 1.4 | 7.56 | 672.1676 | 0.0074% | 135 | 0.03 | 7.56 | 7.51 | 7.59 | ok | 511
AMPP_FA | AMPP_16:1_n-4_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_criegee neutral loss | C24H33H'0N2O3P0I0 | [M+] | 397.2486 | 1 | 7.56 | 0.05 | -1 | 7.55 | 416.6778 | 0.0046% | 62 | 0.03 | 7.56 | 7.51 | 7.59 | ok | 316
AMPP_FA | AMPP_16:1_n-4_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-4_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.56 | 0.05 | 0.4 | 7.52 | 54654.372 | 0.5806% | 10234 | 0.01 | 7.56 | 7.51 | 7.59 | Overlapping precursor | 39860
AMPP_FA | AMPP_16:1_n-5_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_aldehyde neutral loss | C23H31H'0N2O2P0I0 | [M+] | 367.238 | 1 | 7.56 | 0.05 | -2.3 | 7.54 | 593.2663 | 0.0066% | 111 | 0.02 | 7.56 | 7.52 | 7.57 | ok | 456
AMPP_FA | AMPP_16:1_n-5_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_criegee neutral loss | C23H31H'0N2O3P0I0 | [M+] | 383.2329 | 1 | 7.56 | 0.05 | -1.2 | 7.57 | 243.8838 | 0.0027% | 166 | 0.05 | 7.56 | 7.52 | 7.57 | ok | 187
AMPP_FA | AMPP_16:1_n-5_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-5_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.56 | 0.05 | 0.1 | 7.52 | 41621.5118 | 0.4422% | 11599 | 0.01 | 7.56 | 7.52 | 7.57 | Overlapping precursor | 30355
AMPP_FA | AMPP_16:1_n-6_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_aldehyde neutral loss | C22H29H'0N2O2P0I0 | [M+] | 353.2224 | 1 | 7.56 | 0.05 | 5.3 | 7.54 | 304.9729 | 0.0034% | 116 | 0.01 | 7.56 | 7.52 | 7.58 | ok | 237
AMPP_FA | AMPP_16:1_n-6_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_criegee neutral loss | C22H29H'0N2O3P0I0 | [M+] | 369.2173 | 1 | 7.56 | 0.05 | -7.7 | 7.55 | 328.9347 | 0.0037% | 47 | 0.02 | 7.56 | 7.52 | 7.58 | ok | 255
AMPP_FA | AMPP_16:1_n-6_7.58 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-6_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.56 | 0.05 | -0.6 | 7.52 | 22720.0939 | 0.2414% | 12395 | 0 | 7.56 | 7.52 | 7.58 | Overlapping precursor | 16570
AMPP_FA | AMPP_16:1_n-7_7.59 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_aldehyde neutral loss | C21H27H'0N2O2P0I0 | [M+] | 339.2067 | 1 | 7.57 | 0.05 | 0.3 | 7.56 | 1134.0149 | 0.013% | 826 | 0.02 | 7.57 | 7.54 | 7.6 | ok | 891
AMPP_FA | AMPP_16:1_n-7_7.59 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_criegee neutral loss | C21H27H'0N2O3P0I0 | [M+] | 355.2016 | 1 | 7.57 | 0.05 | 1.6 | 7.57 | 614.9569 | 0.007% | 616 | 0.01 | 7.57 | 7.54 | 7.6 | ok | 482
AMPP_FA | AMPP_16:1_n-7_7.59 | C28H41N2O1Xe | [M+] | 553.2255 | 1 | AMPP_16:1_n-7_precursor, OVERLAPPING precursor | C28H41H'0N2O1P0I0 | [M+] | 421.3213 | 1 | 7.57 | 0.05 | -0.6 | 7.54 | 11099.5269 | 0.1179% | 8267 | 0.01 | 7.57 | 7.54 | 7.6 | Overlapping precursor | 8095

## precursor_results
PrecursorName | ProductName | Fatty acid species | Retention time | Area | Sum of Product Areas | Systematic Name | LIPID MAPS ID
AMPP_16:1_n-4_7.38 | AMPP_16:1_n-4_precursor, OVERLAPPING precursor | 16:1_n-4_7.38 | 7.37 | 1774078.721 | 2895.0306 | 12Z-hexadecenoic acid
AMPP_16:1_n-5_7.38 | AMPP_16:1_n-5_precursor, OVERLAPPING precursor | 16:1_n-5_7.38 | 7.37 | 2308498.6588 | 14057.8868 | 11Z-hexadecenoic acid
AMPP_16:1_n-6_7.37 | AMPP_16:1_n-6_precursor, OVERLAPPING precursor | 16:1_n-6_7.37 | 7.37 | 1675658.3455 | 1903.5066 | 10Z-hexadecenoic acid
AMPP_16:1_n-7_7.38 | AMPP_16:1_n-7_precursor, OVERLAPPING precursor | 16:1_n-7_7.38 | 7.37 | 2358349.8631 | 534507.3337 | 9Z-hexadecenoic acid
AMPP_16:1_n-9_7.44 | AMPP_16:1_n-9_precursor, OVERLAPPING precursor | 16:1_n-9_7.44 | 7.39 | 446924.952 | 50177.4936 | 7Z-hexadecenoic acid
AMPP_16:1_n-10_7.53 | AMPP_16:1_n-10_precursor, OVERLAPPING precursor | 16:1_n-10_7.53 | 7.52 | 52483.8283 | 10567.775 | 6Z-hexadecenoic acid
AMPP_16:1_n-4_7.58 | AMPP_16:1_n-4_precursor, OVERLAPPING precursor | 16:1_n-4_7.58 | 7.52 | 54654.372 | 1088.8455 | 12Z-hexadecenoic acid
AMPP_16:1_n-5_7.58 | AMPP_16:1_n-5_precursor, OVERLAPPING precursor | 16:1_n-5_7.58 | 7.52 | 41621.5118 | 837.1501 | 11Z-hexadecenoic acid
AMPP_16:1_n-6_7.58 | AMPP_16:1_n-6_precursor, OVERLAPPING precursor | 16:1_n-6_7.58 | 7.52 | 22720.0939 | 633.9076 | 10Z-hexadecenoic acid
AMPP_16:1_n-7_7.59 | AMPP_16:1_n-7_precursor, OVERLAPPING precursor | 16:1_n-7_7.59 | 7.54 | 11099.5269 | 1748.9718 | 9Z-hexadecenoic acid